This page contains a list of devices supported by drivers from the nut package.

The page is based on the NUT HCL.

Device types::

- ups - Uninterruptible power supply

- pdu - Power distribution unit

- scd - Solar controller

ROSA Marathon and ROSA Desktop 2012 columns show the driver that can be used for a given device. Cell color corresponds to driver quality:

- Not supported - device is not supported

- * - protocol based on reverse engineering

- ** - based on fragments of publicly available protocol

- *** - based on publicly available protocol

- **** - vendor provided protocol

- ***** - vendor provided protocol and hardware

| Manufacturer | Type | Model | Details | ROSA Marathon | ROSA Desktop 2012 |
| --- | --- | --- | --- | --- | --- |
| Ablerex | ups | MS-RT |  | blazer_ser | blazer_ser |
| Ablerex | ups | 625L | USB | blazer_usb | blazer_usb |
| Ablerex | ups | Hope Office 400/600 |  | blazer_ser | blazer_ser |
| ActivePower | ups | 400VA |  | blazer_ser | blazer_ser |
| ActivePower | ups | 1400VA |  | blazer_ser | blazer_ser |
| ActivePower | ups | 2000VA |  | blazer_ser | blazer_ser |
| Advice | ups | TopGuard 2000 |  | blazer_ser | blazer_ser |
| AEC | ups | MiniGuard UPS 700 | Megatec M2501 cable | genericups upstype=21 | genericups upstype=21 |
| AEG Power Solutions | ups | PROTECT HOME |  | Not supported | blazer_ser or blazer_usb |
| APC | ups | Back-UPS Pro |  | apcsmart | apcsmart |
| APC | ups | Matrix-UPS |  | apcsmart | apcsmart |
| APC | ups | Smart-UPS |  | apcsmart | apcsmart |
| APC | ups | Back-UPS Pro USB | USB | usbhid-ups | usbhid-ups |
| APC | ups | Back-UPS USB | USB | usbhid-ups | usbhid-ups |
| APC | ups | Back-UPS RS USB | USB | usbhid-ups | usbhid-ups |
| APC | ups | Back-UPS LS USB | USB | usbhid-ups | usbhid-ups |
| APC | ups | Back-UPS ES/CyberFort 350 | USB | usbhid-ups | usbhid-ups |
| APC | ups | Back-UPS BF500 | USB | usbhid-ups | usbhid-ups |
| APC | ups | BACK-UPS XS LCD | USB | usbhid-ups | usbhid-ups |
| APC | ups | Smart-UPS USB | USB | usbhid-ups | usbhid-ups |
| APC | ups | Back-UPS | 940-0095A/C cables | genericups upstype=1 | genericups upstype=1 |
| APC | ups | Back-UPS | 940-0020B/C cables | genericups upstype=2 | genericups upstype=2 |
| APC | ups | Back-UPS | 940-0023A cable | genericups upstype=9 | genericups upstype=9 |
| APC | ups | Back-UPS Office | 940-0119A cable | genericups upstype=12 | genericups upstype=12 |
| APC | ups | Back-UPS RS 500 | custom non-USB cable | genericups upstype=20 | genericups upstype=20 |
| APC | ups | Smart-UPS RT XL | AP9618 SNMP monitoring card | Not supported | snmp-ups |
| APC | ups | (various) | AP9618 SNMP monitoring card | Not supported | snmp-ups |
| APC | pdu | Masterswitch | 940-0020 cable | genericups upstype=12 | genericups upstype=12 |
| APC | pdu | AP9210 | 8 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| APC | pdu | AP79xx | 8 to 24 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| APC | pdu | (various) | SNMP monitoring card | snmp-ups (experimental) | snmp-ups (experimental) |
| Aphel | pdu | various PDU |  | snmp-ups (experimental) | snmp-ups (experimental) |
| Apollo | ups | 1000A |  | genericups upstype=4 | genericups upstype=4 |
| Apollo | ups | 1000F |  | genericups upstype=4 | genericups upstype=4 |
| Appro | pdu | SWPDU | 48 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| ARTronic | ups | ARTon Millenium 1/2/3/6/10 kVA | Serial | Not supported | blazer_ser |
| ARTronic | ups | ARTon Millenium 3.1 10/15/20 kVA | Serial | Not supported | blazer_ser |
| ARTronic | ups | ARTon Titanium 6/10 kVA | Serial | Not supported | blazer_ser |
| ARTronic | ups | ARTon Titanium 3.1 10/15/20 kVA | Serial | Not supported | blazer_ser |
| ARTronic | ups | ARTon Optimum 1/2/3/6/10 kVA | Serial | Not supported | blazer_ser |
| ARTronic | ups | ARTon Titanium Plus 1/2/3 kVA | USB | Not supported | blazer_usb |
| ARTronic | ups | ARTon Platinium 6/10 kVA | USB | Not supported | blazer_usb |
| ARTronic | ups | ARTon Platinium Combo 3.1 10/15/20 kVA | USB | Not supported | blazer_usb |
| ARTronic | ups | ARTon Platinium RT 1/2/3/6/10 kVA | USB | Not supported | blazer_usb |
| ATEK | ups | Defensor 1K Tower / Rack | USB | Not supported | blazer_usb |
| ATEK | ups | Defensor 2K Tower / Rack | USB | Not supported | blazer_usb |
| ATEK | ups | Defensor 3K Tower / Rack | USB | Not supported | blazer_usb |
| ATEK | ups | Defensor 6K Tower / Rack | USB | Not supported | blazer_usb |
| ATEK | ups | Defensor 10K Tower / Rack | USB | Not supported | blazer_usb |
| Atlantis Land | ups | A03-P826 |  | blazer_ser | blazer_ser |
| Baytech | pdu | RPC3 | 8 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Baytech | pdu | RPC3-20NC | 8 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Baytech | pdu | RPC28-30NC | 20 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Baytech | pdu | various RPC |  | snmp-ups | snmp-ups |
| Belkin | ups | Active Battery Backup BU30 series | USB | blazer_usb | blazer_usb |
| Belkin | ups | Home Office F6H350-SER |  | genericups upstype=7 | genericups upstype=7 |
| Belkin | ups | Home Office F6H500-SER |  | genericups upstype=7 | genericups upstype=7 |
| Belkin | ups | Home Office F6H650-SER |  | genericups upstype=7 | genericups upstype=7 |
| Belkin | ups | F6H375-USB | USB (<= 2005 models, vendor id: 050d) | usbhid-ups | usbhid-ups |
| Belkin | ups | F6H375-USB | USB (2007 models, vendor id: 0665) | blazer_usb | blazer_usb |
| Belkin | ups | Office Series F6C550-AVR | USB | usbhid-ups | usbhid-ups |
| Belkin | ups | Regulator Pro | F6C525-SER, F6C625-SER | belkin | belkin |
| Belkin | ups | Resource |  | genericups upstype=4 | genericups upstype=4 |
| Belkin | ups | Small Enterprise F6C1500-TW-RK | serial port | belkin | belkin |
| Belkin | ups | Small Enterprise F6C1500-TW-RK | USB | usbhid-ups | usbhid-ups |
| Belkin | ups | Universal UPS F6C100-UNV | USB | usbhid-ups | usbhid-ups |
| Belkin | ups | Universal UPS F6C120-UNV | serial port | belkinunv | belkinunv |
| Belkin | ups | Universal UPS F6C120-UNV | USB | usbhid-ups | usbhid-ups |
| Belkin | ups | Universal UPS F6C800-UNV | serial port | belkinunv | belkinunv |
| Belkin | ups | Universal UPS F6C800-UNV | USB | usbhid-ups | usbhid-ups |
| Belkin | ups | Universal UPS F6C1100-UNV | serial port (<= 2005 models) | belkinunv | belkinunv |
| Belkin | ups | Universal UPS F6C1100-UNV | USB (<= 2005 models, vendor id: 050d) | usbhid-ups | usbhid-ups |
| Belkin | ups | Universal UPS F6C1100-UNV | USB (2007 models, vendor id: 0665) | blazer_usb | blazer_usb |
| Belkin | ups | Universal UPS F6C1200-UNV | USB (<= 2005 models, vendor id: 050d) | usbhid-ups | usbhid-ups |
| Belkin | ups | Universal UPS F6C1200-UNV | USB (2007 models, vendor id: 0665) | blazer_usb | blazer_usb |
| Belkin | ups | Universal UPS F6H350deUNV | serial port | blazer_ser | blazer_ser |
| Belkin | ups | Universal UPS F6H350ukUNV | serial port | blazer_ser | blazer_ser |
| Belkin | ups | Universal UPS F6H500ukUNV | serial port | blazer_ser | blazer_ser |
| Belkin | ups | Universal UPS F6H650ukUNV | serial port | blazer_ser | blazer_ser |
| Belkin | ups | F6S600auUSB | USB | Not supported | blazer_usb |
| Best Power | ups | Fortress (older) |  | bestfortress | bestfortress |
| Best Power | ups | Fortress (newer) |  | bestups | blazer_ser or bestups |
| Best Power | ups | Fortress Telecom |  | bestups | blazer_ser or bestups |
| Best Power | ups | Axxium Rackmount |  | bestups | blazer_ser or bestups |
| Best Power | ups | Patriot Pro |  | bestups | blazer_ser or bestups |
| Best Power | ups | Patriot Pro II |  | bestups | blazer_ser or bestups |
| Best Power | ups | Patriot | INT51 cable | genericups upstype=6 | genericups upstype=6 |
| Best Power | ups | Micro-Ferrups |  | bestuferrups | bestuferrups |
| Best Power | ups | Fortress/Ferrups | f-command support | bestfcom | bestfcom |
| Borri | ups | B400-010-B/B400-020-B/B400-030-B/B400-010-C/B400-020-C/B400-030-C |  | Not supported | blazer_usb |
| Borri | ups | B400-R010-B/B400-R020-B/B400-R030-B/B400-R010-C/B400-R020-C/B400-R030-C |  | Not supported | blazer_usb |
| Borri | ups | B500-060-B/B500-100-B/B500-060-C/B500-100-C |  | Not supported | blazer_usb |
| Borri | ups | B500-R060-B/B500-R100-B |  | Not supported | blazer_usb |
| Borri | ups | B500EVO-100-B/B500EVO-200-B |  | Not supported | blazer_usb |
| Chloride | ups | Desk Power 650 | serial port | blazer_ser | blazer_ser |
| Cito Power | ups | CPG-SR1000 |  | blazer_ser | blazer_ser |
| Clary | ups | ST-800 |  | gamatronic | gamatronic |
| Compaq | ups | T1500h |  | upscode2 use_pre_lf | upscode2 use_pre_lf |
| Compaq | ups | R3000h |  | upscode2 | upscode2 |
| Compaq | ups | R3000 XR |  | bcmxcp | bcmxcp |
| Compaq | ups | R5500 XR |  | bcmxcp | bcmxcp |
| COVER ENERGY SA | ups | COVER PRM 1K/2K/3K/6K/10K |  | Not supported | blazer_usb |
| COVER ENERGY SA | ups | COVER PRM 1K/2K/3K/6K/10K EC |  | Not supported | blazer_usb |
| COVER ENERGY SA | ups | COVER PRM 6K/10K PR |  | Not supported | blazer_usb |
| Cyber Power Systems | ups | 320AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 500AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 650AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 700AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 800AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 850AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 900AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 1250AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 1500AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | Power99 |  | genericups upstype=7 | genericups upstype=7 |
| Cyber Power Systems | ups | 550SL |  | genericups upstype=7 | genericups upstype=7 |
| Cyber Power Systems | ups | 725SL |  | genericups upstype=7 | genericups upstype=7 |
| Cyber Power Systems | ups | CPS825VA |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 1100AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 1200AVR |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 1500AVR-HO |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | PR2200 |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | PR3000E |  | powerpanel | powerpanel |
| Cyber Power Systems | ups | 685AVR | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | 800AVR | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | AE550 | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | CP 1500C | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | OR2200LCDRM2U | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | OR700LCDRM1U | USB | Not supported | usbhid-ups |
| Cyber Power Systems | ups | PR6000LCDRTXL5U | USB | Not supported | usbhid-ups |
| Cyber Power Systems | ups | Value 400E | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | Value 600E | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | Value 800E | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | CP1000AVRLCD | USB | Not supported | usbhid-ups |
| Cyber Power Systems | ups | CP1350AVRLCD | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | CP1500AVRLCD | USB | usbhid-ups | usbhid-ups |
| Cyber Power Systems | ups | CP1000PFCLCD | USB | Not supported | usbhid-ups |
| Cyber Power Systems | ups | RMCARD100 |  | Not supported | snmp-ups |
| Cyber Power Systems | ups | RMCARD201 |  | Not supported | snmp-ups |
| Cyber Power Systems | ups | RMCARD202 |  | Not supported | snmp-ups |
| Cyber Power Systems | ups | RMCARD301 |  | Not supported | snmp-ups |
| Cyclades | pdu | PM8 | 8 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Cyclades | pdu | PM10 | 10 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Dell | ups | Tower 500W LV / HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack/Tower 1000W LV / HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack/Tower 1500W LV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack/Tower 1920W LV / HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack/Tower 2300W LV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack/Tower 2700W LV / HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Short Depth Rack 2700W Online LV / HV | High Efficiency, Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack 3750W High Efficiency Online HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack 4200W High Efficiency Online HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Rack 5600W HV | Serial port | newmge-shut | newmge-shut |
| Dell | ups | Tower 500W LV / HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack/Tower 1000W LV / HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack/Tower 1500W LV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack/Tower 1920W LV / HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack/Tower 2300W LV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack/Tower 2700W LV / HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Short Depth Rack 2700W Online LV / HV | High Efficiency, USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack 3750W High Efficiency Online HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack 4200W High Efficiency Online HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Rack 5600W HV | USB port | usbhid-ups | usbhid-ups |
| Dell | ups | Various (SNMP mode) | UPS Network Management Card | Not supported | snmp-ups |
| Dell | ups | Various (XML/HTTP mode) | UPS Network Management Card | Not supported | netxml-ups (experimental) |
| Delta | ups | GES602N |  | belkin | belkin |
| Deltec | ups | PowerRite Pro II |  | genericups upstype=15 | genericups upstype=15 |
| Deltec | ups | PRM 450/700/1000/1500 |  | upscode2 | upscode2 |
| Digital Loggers | pdu | LPC, EPCR2, DIN | 8 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Digitus | ups | DN-170020 |  | blazer_ser | blazer_ser |
| Dynamix | ups | UPS1700D |  | blazer_ser | blazer_ser |
| Dynamix | ups | UPS-650VA |  | blazer_ser | blazer_ser |
| Dynamix | ups | 650VA/1000VA | USB | Not supported | blazer_usb langid_fix=0x0409 |
| Dynex | ups | 975AVR |  | genericups upstype=7 | genericups upstype=7 |
| Dynex | ups | DX-800U | USB | usbhid-ups | usbhid-ups |
| Eaton | ups | 3S |  | Not supported | usbhid-ups |
| Eaton | ups | Protection Station 500/650/800 VA | USB | usbhid-ups | usbhid-ups |
| Eaton | ups | Ellipse ECO 650/800/1200/1600 VA | USB | usbhid-ups | usbhid-ups |
| Eaton | ups | Ellipse ASR USBS 600/750/1000/1500 VA | USB cable | usbhid-ups | usbhid-ups |
| Eaton | ups | Ellipse MAX USBS 600/850/1100/1500 VA | USB cable | usbhid-ups | usbhid-ups |
| Eaton | ups | Evolution 650/850/1150/1550/2000 VA | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | Evolution S 1250/1750/2500/3000 VA | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | EX 700/1000/1500 VA | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | EX 2200/3000/3000 XL VA | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | EX 1000 RT2U / 1500 RT2U | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | MX 5/8/10/15/20 kVA | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | 5 PX | USB port | usbhid-ups | usbhid-ups |
| Eaton | ups | Nova AVR 625/1250 | USB | usbhid-ups | usbhid-ups |
| Eaton | ups | Ellipse ASR USBS 600/750/1000/1500 VA | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | Ellipse MAX USBS 600/850/1100/1500 VA | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | Evolution 650/850/1150/1550/2000 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | Evolution S 1250/1750/2500/3000 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | EX 700/1000/1500 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | EX 2200/3000/3000 XL VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | EX 1000 RT2U / 1500 RT2U | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | MX 5/8/10/15/20 kVA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | 5 PX | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | EX RT 1:1 7/11 kVA |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | EX RT 3:1 5/7/11 kVA |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| Eaton | ups | EX RT (XML/HTTP) | NMC Transverse card (ref 66074) | netxml-ups (experimental) | netxml-ups (experimental) |
| Eaton | ups | EX RT (SNMP) | NMC Transverse card (ref 66074) | snmp-ups (experimental) | snmp-ups (experimental) |
| Eaton | ups | E Series NV UPS 400-2000 VA |  | blazer_usb | blazer_usb |
| Eaton | ups | E Series DX UPS 1-20 kVA |  | mge-utalk | mge-utalk |
| Eaton | ups | NetUPS SE 450/700/1000/1500 |  | upscode2 | upscode2 |
| Eaton | ups | BladeUPS (SNMP) | ConnectUPS Web/SNMP Card | snmp-ups (experimental) | snmp-ups (experimental) |
| Eaton | ups | various models (XML/HTTP mode) | NMC Minislot (ref 66102) | Not supported | netxml-ups (experimental) |
| Eaton | ups | various models (SNMP mode) | NMC Minislot (ref 66102) | Not supported | snmp-ups (experimental) |
| Eaton | ups | various models (XML/HTTP mode) | SNMP/Web Minislot card (ref 66244) | netxml-ups (experimental) | netxml-ups (experimental) |
| Eaton | ups | various models (SNMP mode) | SNMP/Web Minislot card (ref 66244) | snmp-ups (experimental) | snmp-ups (experimental) |
| Eaton | ups | various models (serial mode) | Management Card Contact (ref 66104) | Not supported | mge-shut or mge-utalk |
| Eaton | pdu | ePDU Managed |  | snmp-ups (experimental) | snmp-ups (experimental) |
| Eaton | pdu | ePDU Monitored |  | snmp-ups or netxml-ups | snmp-ups or netxml-ups |
| Eaton | ups | Powerware 9130 |  | bcmxcp or usbhid-ups | bcmxcp or usbhid-ups |
| Eaton | ups | Powerware 9140 |  | bcmxcp or usbhid-ups | bcmxcp or usbhid-ups |
| Eaton | ups | Powerware 5130 |  | usbhid-ups | usbhid-ups |
| Eaton | ups | 9395 | Serial port | bcmxcp | bcmxcp |
| Eaton | ups | Best Ferrups | older ConnectUPS | snmp-ups | snmp-ups |
| Eaton | ups | ConnectUPS X / BD / E Slot | Serial Pass-through mode | bcmxcp | bcmxcp |
| Eaton | ups | ConnectUPS X / BD / E Slot | Network port | snmp-ups | snmp-ups |
| Effekta | ups | MI/MT/MH | 2502 cable | blazer_ser | blazer_ser |
| Effekta | ups | RM2000MH |  | blazer_ser | blazer_ser |
| Energy Sistem | ups | (various) |  | blazer_ser | blazer_ser |
| ETA | ups | mini+UPS | WinNT/Upsoft cable | genericups upstype=7 | genericups upstype=7 |
| ETA | ups | mini+UPS PRO | UPS Explorer cable | etapro | etapro |
| EVER | ups | NET DPC series | Serial port | Not supported | everups |
| EVER | ups | AP Pro series | Serial port | Not supported | everups |
| EVER | ups | 625/1000 |  | Not supported | safenet |
| EVER | ups | POWERLINE RT 1-3kVA series | Serial port | Not supported | blazer_ser |
| EVER | ups | POWERLINE RT 6-10kVA series | Serial port | Not supported | blazer_ser |
| EVER | ups | POWERLINE 11 series | Serial port | Not supported | blazer_ser |
| EVER | ups | POWERLINE 31 series | Serial port | Not supported | blazer_ser |
| EVER | ups | DUO II Pro series | USB port | Not supported | blazer_usb |
| EVER | ups | POWERLINE RT 1-3kVA series | USB port | Not supported | blazer_usb |
| EVER | ups | POWERLINE RT 6-10kVA series | USB port | Not supported | blazer_usb |
| Exide | ups | NetUPS SE |  | genericups upstype=15 | genericups upstype=15 |
| Exide | ups | NetUPS SE 450/700/1000/1500 |  | upscode2 | upscode2 |
| Fenton Technologies | ups | PowerPal | P-series | safenet | safenet |
| Fenton Technologies | ups | PowerPal | L-series | blazer_ser | blazer_ser |
| Fenton Technologies | ups | PowerOn |  | blazer_ser | blazer_ser |
| Fenton Technologies | ups | PowerPure |  | blazer_ser | blazer_ser |
| Fairstone | ups | L525/L625/L750 |  | safenet | safenet |
| Fideltronik | ups | Ares 700 and larger |  | genericups upstype=6 | genericups upstype=6 |
| Fideltronik | ups | Other Ares models |  | genericups upstype=19 | genericups upstype=19 |
| Fiskars | ups | PowerRite MAX |  | upscode2 | upscode2 |
| Fiskars | ups | PowerServer 10 |  | upscode2 | upscode2 |
| Fiskars | ups | PowerServer 30 |  | upscode2 | upscode2 |
| Fiskars | ups | 9200 | UPS Information Unit | upscode2 | upscode2 |
| Forza Power Technologies | ups | SL-1001 | USB | blazer_usb | blazer_usb |
| FSP | ups | EP650 | USB | blazer_usb | blazer_usb |
| Gamatronic | ups | All models with alarm interface |  | genericups upstype=22 | genericups upstype=22 |
| Gamatronic | ups | G-SmartCompact 2000 |  | blazer_ser | blazer_ser |
| Gamatronic | ups | MP110/210 |  | gamatronic | gamatronic |
| Gamatronic | ups | MS-T |  | gamatronic | gamatronic |
| Gamatronic | ups | MS |  | gamatronic | gamatronic |
| Gamatronic | ups | µPS3/1 |  | gamatronic | gamatronic |
| GE Digital Energy | ups | EP Series |  | Not supported | blazer_usb |
| GE Digital Energy | ups | GT Series 1000/1500/2000/3000 VA Rack/Tower | UL-version | Not supported | blazer_ser |
| Geek Squad | ups | GS1285U | USB | usbhid-ups | usbhid-ups |
| Gemini | ups | UPS625/UPS1000 |  | safenet | safenet |
| Gtec | ups | ZP120N-1K / ZP120N-1KS / ZP120N-2K / ZP120N-2KS / ZP120N-3K / ZP120N-3KS |  | Not supported | blazer_usb |
| Gtec | ups | ZP120N-6K / ZP120N-6KS / ZP120N-10K-11 / ZP120N-10KS-11 |  | Not supported | blazer_usb |
| Gtec | ups | ZP120N-10K-31-00 / ZP120N-10K-31-07 / ZP120N-10K-31-09 / ZP120N-10K-31-99 / ZP120N-20K | USB port | Not supported | blazer_usb |
| Gtec | ups | AP160N-1K / AP160LCD-1K-KS / AP160N-2K / AP160LCD-2K-KS / AP160N-3K / AP160LCD-3K-KS / AP160N-6K-PDU / AP160N-10K-PDU | USB port | Not supported | blazer_usb |
| Gtec | ups | ZP120N-10K-31-00 / ZP120N-10K-31-07 / ZP120N-10K-31-09 / ZP120N-10K-31-99 / ZP120N-20K | Serial port | Not supported | blazer_ser |
| Gtec | ups | AP160N-1K / AP160LCD-1K-KS / AP160N-2K / AP160LCD-2K-KS / AP160N-3K / AP160LCD-3K-KS / AP160N-6K-PDU / AP160N-10K-PDU | Serial port | Not supported | blazer_ser |
| HP | ups | PowerTrust 2997A | HP 5061-2575 cable | apcsmart | apcsmart |
| HP | ups | T750 G2 | Serial port | Not supported | bcmxcp |
| HP | ups | T1000 G3 | Serial port | Not supported | bcmxcp |
| HP | ups | T1500 G3 | Serial port | Not supported | bcmxcp |
| HP | ups | R1500 G2 | Serial port | Not supported | bcmxcp |
| HP | ups | R3000 XR |  | bcmxcp | bcmxcp |
| HP | ups | R5500 XR |  | bcmxcp | bcmxcp |
| HP | ups | T500 / T750 | older models, USB port | Not supported | bcmxcp_usb |
| HP | ups | R/T3000 | Serial port | Not supported | mge-shut or nfont style="background-color: grey">Not supportedewmge-shut |
| HP | ups | R5000 / R7000 | Serial port | Not supported | mge-shut or newmge-shut |
| HP | ups | T750 INTL |  | usbhid-ups | usbhid-ups |
| HP | ups | T1000 INTL |  | usbhid-ups | usbhid-ups |
| HP | ups | T1500 INTL |  | usbhid-ups | usbhid-ups |
| HP | ups | T750 G2 | USB port | Not supported | usbhid-ups |
| HP | ups | T1000 G3 | USB port | Not supported | usbhid-ups |
| HP | ups | T1500 G3 | USB port | Not supported | usbhid-ups |
| HP | ups | R1500 G2 INTL | USB port | Not supported | usbhid-ups |
| HP | ups | R/T 2200 G2 |  | usbhid-ups | usbhid-ups |
| HP | ups | R/T3000 | USB port | Not supported | usbhid-ups |
| HP | ups | R5000 / R7000 | USB port | Not supported | usbhid-ups |
| HP | ups | Various (SNMP mode) | HP UPS Management Module | Not supported | snmp-ups |
| HP | pdu | HP3488 Switch/Control Unit |  | powerman-pdu (experimental) | powerman-pdu (experimental) |
| IBM | pdu | Blade Center Management Module | 15 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| ICS | pdu | 8064 Ethernet Relay Interface | 16 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| iDowell | ups | iBox UPS |  | usbhid-ups | usbhid-ups |
| INELT | ups | Monolith 1000LT |  | blazer_ser | blazer_ser |
| INELT | ups | Monolith 3000RT |  | blazer_ser | blazer_ser |
| Inform | ups | GUARD | Line Interactive AP model | powercom | powercom |
| Inform | ups | Guard S 1500AP |  | blazer_ser | blazer_ser |
| Inform | ups | Informer Compact 1000-2000-3000 VA |  | blazer_ser | blazer_ser |
| Inform | ups | Sinus SS 210 |  | blazer_ser | blazer_ser |
| Infosec | ups | iPEL 350 |  | blazer_ser | blazer_ser |
| Infosec | ups | iPEL 500 |  | blazer_ser | blazer_ser |
| Infosec | ups | iPEL 750 |  | blazer_ser | blazer_ser |
| Infosec | ups | iPEL 1000 |  | blazer_ser | blazer_ser |
| Infosec | ups | 500XP |  | blazer_ser | blazer_ser |
| Infosec | ups | XP 500 | USB | blazer_usb | blazer_usb |
| Infosec | ups | XP 1000 |  | blazer_ser | blazer_ser |
| IPAR | ups | Mini Energy ME 800 |  | blazer_usb | blazer_usb |
| IPMI | pdu |  |  | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Ippon | ups | Back Power Pro 400/500/600/700/800 |  | blazer_ser | blazer_ser |
| Ippon | ups | Back Power Pro 400/500/600/700/800 | USB | blazer_usb (experimental) | blazer_usb (experimental) |
| Ippon | ups | Back Comfo Pro 600/800 |  | blazer_ser | blazer_ser |
| Ippon | ups | Back Comfo Pro 600/800 | USB | blazer_usb (experimental) | blazer_usb (experimental) |
| Ippon | ups | Smart Power Pro 1000/1400/2000 |  | blazer_ser | blazer_ser |
| Ippon | ups | Smart Power Pro 1000/1400/2000 | USB | blazer_usb (experimental) | blazer_usb (experimental) |
| Ippon | ups | Smart Winner 750/1000/1500/2000/3000 |  | blazer_ser | blazer_ser |
| Ippon | ups | Smart Winner 750/1000/1500/2000/3000 | USB | blazer_usb (experimental) | blazer_usb (experimental) |
| Ippon | ups | (various) |  | blazer_ser | blazer_ser |
| Ippon | ups | (various) | USB | blazer_usb | blazer_usb |
| Ippon | ups | INNOVA RT 1K/1.5K/2K/3K |  | Not supported | blazer_usb |
| IVT | scd | SCD series |  | ivtscd | ivtscd |
| Jageson Technology | ups | Jasuny USPS |  | genericups upstype=4 | genericups upstype=4 |
| Kebo | ups | 1200D/D Series |  | blazer_ser | blazer_ser |
| KOLFF | ups | BLACK NOVA 1K/2K/3K/6K/10K/20K TOWER |  | Not supported | blazer_usb |
| KOLFF | ups | BLACK NOVA 1K/2K/3K/6K/10K/20K XL TOWER |  | Not supported | blazer_usb |
| KOLFF | ups | BLACK NOVA 1K/1.5K/2K/3K/6K/10K RACK |  | Not supported | blazer_usb |
| KOLFF | ups | BLACK NOVA 1K/1.5K/2K/3K/6K/10K XL RACK |  | Not supported | blazer_usb |
| Krauler | ups | UP-D1200VA | USB | blazer_usb | blazer_usb |
| Krauler | ups | UP-M500VA | USB | blazer_usb | blazer_usb |
| LDLC | ups | UPS-1200D |  | Not supported | blazer_usb langid_fix=0x4095 |
| Lestar | ups | MD-800E |  | blazer_ser | blazer_ser |
| Lexis | ups | X-Power Tigra 1kVA |  | Not supported | blazer_ser or bestups |
| Liebert | ups | ITON 600VA |  | blazer_ser | blazer_ser |
| Liebert | ups | UPStation GXT2 | contact-closure cable | liebert | liebert |
| Liebert | ups | GXT2-3000RT230 |  | liebert-esp2 (experimental) | liebert-esp2 (experimental) |
| Liebert | ups | PowerSure Personal XT | USB | usbhid-ups | usbhid-ups |
| Liebert | ups | PowerSure PSA | USB | usbhid-ups | usbhid-ups |
| LNXI | pdu | Icebox | 10 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Masterguard | ups | (various) |  | masterguard | masterguard |
| Maxxtro | ups | UPS 600 VA | serial port | blazer_ser | blazer_ser |
| Mecer | ups | ME-2000 |  | blazer_ser | blazer_ser |
| Meta System | ups | HF Line | 1..4 boards | metasys | metasys |
| Meta System | ups | HF Line \/2 | 5..8 boards | Not supported | metasys |
| Meta System | ups | HF Millennium 810 |  | metasys | metasys |
| Meta System | ups | HF Millennium 820 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 910 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 920 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 930 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 940 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 950 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 960 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 970 |  | metasys | metasys |
| Meta System | ups | HF TOP Line 980 |  | metasys | metasys |
| Meta System | ups | ECO Network 750 |  | metasys | metasys |
| Meta System | ups | ECO Network 1000 |  | metasys | metasys |
| Meta System | ups | ECO Network 1050 |  | metasys | metasys |
| Meta System | ups | ECO Network 1500 |  | metasys | metasys |
| Meta System | ups | ECO Network 1800 |  | metasys | metasys |
| Meta System | ups | ECO Network 2000 |  | metasys | metasys |
| Meta System | ups | ECO Network 2100 |  | metasys | metasys |
| Meta System | ups | ECO Network 2500 |  | metasys | metasys |
| Meta System | ups | ECO Network 3000 |  | metasys | metasys |
| Meta System | ups | ECO 305 |  | metasys | metasys |
| Meta System | ups | ECO 308 |  | metasys | metasys |
| Meta System | ups | ECO 311 |  | metasys | metasys |
| Meta System | ups | ECO 511 |  | metasys | metasys |
| Meta System | ups | ECO 516 |  | metasys | metasys |
| Meta System | ups | ECO 519 |  | metasys | metasys |
| Meta System | ups | ECO 522 |  | metasys | metasys |
| Meta System | ups | ally HF 800 |  | metasys | metasys |
| Meta System | ups | ally HF 1000 |  | metasys | metasys |
| Meta System | ups | ally HF 1250 |  | metasys | metasys |
| Meta System | ups | ally HF 1600 |  | metasys | metasys |
| Meta System | ups | ally HF 2000 |  | metasys | metasys |
| Meta System | ups | ally HF 2500 |  | metasys | metasys |
| Meta System | ups | Megaline 1250 |  | metasys | metasys |
| Meta System | ups | Megaline 2500 |  | metasys | metasys |
| Meta System | ups | Megaline 3750 |  | metasys | metasys |
| Meta System | ups | Megaline 5000 |  | metasys | metasys |
| Meta System | ups | Megaline 6250 |  | metasys | metasys |
| Meta System | ups | Megaline 7500 |  | metasys | metasys |
| Meta System | ups | Megaline 8750 |  | metasys | metasys |
| Meta System | ups | Megaline 10000 |  | metasys | metasys |
| MGE Office Protection Systems | ups | Protection Center 500/675 VA | USB | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Protection Station 500/650/800 VA | USB | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Ellipse ASR USBS 600/750/1000/1500 VA | USB cable | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Ellipse MAX USBS 600/850/1100/1500 VA | USB cable | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Evolution 650/850/1150/1550/2000 VA | USB port | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Evolution S 1250/1750/2500/3000 VA | USB port | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Pulsar 700/1000/1500 VA | USB port | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Pulsar M 2200/3000 VA | USB port | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Pulsar MX 5/8/10/15/20 kVA | USB port | usbhid-ups | usbhid-ups |
| MGE Office Protection Systems | ups | Ellipse ASR USBS 600/750/1000/1500 VA | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Ellipse MAX USBS 600/850/1100/1500 VA | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Evolution 650/850/1150/1550/2000 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Evolution S 1250/1750/2500/3000 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Pulsar 700/1000/1500 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Pulsar M 2200/3000 VA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Pulsar MX 5/8/10/15/20 kVA | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Comet EX RT 1:1 7/11 kVA |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Comet EX RT 3:1 5/7/11 kVA |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE Office Protection Systems | ups | Comet EX RT (XML/HTTP) | NMC Transverse card (ref 66074) | netxml-ups (experimental) | netxml-ups (experimental) |
| MGE Office Protection Systems | ups | Comet EX RT (SNMP) | NMC Transverse card (ref 66074) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE Office Protection Systems | ups | various models (XML/HTTP mode) | NMC Minislot (Ref 66102) | netxml-ups (experimental) | netxml-ups (experimental) |
| MGE Office Protection Systems | ups | various models (SNMP mode) | NMC Minislot (Ref 66102) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE Office Protection Systems | ups | various models (XML/HTTP mode) | SNMP/Web Minislot card (ref 66244) | netxml-ups (experimental) | netxml-ups (experimental) |
| MGE Office Protection Systems | ups | various models (SNMP mode) | SNMP/Web Minislot card (ref 66244) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE UPS SYSTEMS | ups | Comet EX RT | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Comet EX RT 3:1 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Protection Center 420 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Protection Center 500 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Protection Center 675 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | NOVA AVR 600 USB | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | NOVA AVR 1100 USB | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse USBS | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse USB | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse Premium USBS | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse Premium USB | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse Office 600 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse Office 750 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse Office 1000 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse Office 1500 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse MAX 600 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse MAX 850 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse MAX 1100 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Ellipse MAX 1500 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar Evolution | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution 650 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution 850 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution 1150 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution S 1250 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution 1550 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution S 1750 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution 2000 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution S 2500 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Evolution S 3000 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar M 2200 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar M 3000 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar M 3000 XL | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar 700 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar 1000 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar 1500 | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar 1000 RT2U | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar 1500 RT2U | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar MX 4000 RT | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Pulsar MX 5000 RT | USB | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | Comet / Galaxy (USB) | USB Card (ref 66067) | usbhid-ups | usbhid-ups |
| MGE UPS SYSTEMS | ups | NOVA AVR 600 Serial |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | NOVA AVR 1100 Serial |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse USBS | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse S |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse Premium USBS | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar Ellipse Premium S |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse Office 600 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse Office 750 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse Office 1000 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse Office 1500 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse MAX 600 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse MAX 850 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse MAX 1100 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Ellipse MAX 1500 | Serial cable | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar EXtreme C / EX RT |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Comet EX RT | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Comet EX RT 3:1 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar Esprit |  | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution 650 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution 850 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution 1150 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution S 1250 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution 1550 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution S 1750 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution 2000 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution S 2500 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Evolution S 3000 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar M 2200 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar M 3000 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar M 3000 XL | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar 700 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar 1000 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar 1500 | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar 1000 RT2U | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar 1500 RT2U | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar MX 4000 RT | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar MX 5000 RT | Serial port | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar Evolution | Serial port | mge-shut or newmge-shut or mge-utalk | mge-shut or newmge-shut or mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar EXtreme C |  | mge-shut or newmge-shut or mge-utalk | mge-shut or newmge-shut or mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar ES+ |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar ESV+ |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar SV |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar ESV |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar EX |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar EXL |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar PSX |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar SX |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Pulsar EXtreme |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Comet EXtreme |  | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Comet / Galaxy (Serial) | Utalk Serial Card (ref 66060) | mge-utalk | mge-utalk |
| MGE UPS SYSTEMS | ups | Comet / Galaxy (Serial) | HID COM Serial Card (ref 66066) | mge-shut or newmge-shut | mge-shut or newmge-shut |
| MGE UPS SYSTEMS | ups | Pulsar / Comet / Galaxy (SNMP) | SNMP/Web Transverse card (ref 66074) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE UPS SYSTEMS | ups | various models (XML/HTTP mode) | NMC Minislot (Ref 66102) | netxml-ups (experimental) | netxml-ups (experimental) |
| MGE UPS SYSTEMS | ups | various models (SNMP mode) | NMC Minislot (Ref 66102) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE UPS SYSTEMS | ups | Pulsar (XML/HTTP mode) | SNMP/Web Minislot card (ref 66244) | netxml-ups (experimental) | netxml-ups (experimental) |
| MGE UPS SYSTEMS | ups | Pulsar (SNMP mode) | SNMP/Web Minislot card (ref 66244) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE UPS SYSTEMS | ups | Pulsar / Comet / Galaxy (SNMP) | SNMP card (ref 66062) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE UPS SYSTEMS | ups | Pulsar (SNMP) | SNMP card (ref 66045) | snmp-ups (experimental) | snmp-ups (experimental) |
| MGE UPS SYSTEMS | ups | UM-Link (SNMP) | Not a UPS (ref 66850) | snmp-ups (experimental) | snmp-ups (experimental) |
| MicroDowell | ups | B.Box BP 500 |  | powerpanel | powerpanel |
| MicroDowell | ups | B.Box BP 750 |  | powerpanel | powerpanel |
| MicroDowell | ups | B.Box BP 1000 |  | powerpanel | powerpanel |
| MicroDowell | ups | B.Box BP 1500 |  | powerpanel | powerpanel |
| MicroDowell | ups | Enterprise B8 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise B10 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N8 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N11 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N15 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N20 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N22 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N30 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N40 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N50 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise N60 |  | microdowell | microdowell |
| MicroDowell | ups | Enterprise HiBox ST |  | microdowell | microdowell |
| Microline | ups | C-Lion Innova RT 2K/3K |  | Not supported | blazer_usb |
| Microline | ups | C-Lion Innova RT 6K/10K (Parallel) |  | Not supported | blazer_usb |
| Microline | ups | C-Lion Innova Tower 6K/10K |  | Not supported | blazer_usb |
| Microline | ups | C-Lion Innova Combo 10K/20K (3/1) |  | Not supported | blazer_usb |
| Microsol | ups | Solis 1.0 | 1000VA | solis | solis |
| Microsol | ups | Solis 1.5 | 1500VA | solis | solis |
| Microsol | ups | Solis 2.0 | 2000VA | solis | solis |
| Microsol | ups | Solis 3.0 | 3000VA | solis | solis |
| Microsol | ups | Rhino 6.0 | 6000VA | rhino | rhino |
| Microsol | ups | Rhino 7.5 | 7500VA | rhino | rhino |
| Microsol | ups | Rhino 10.0 | 10000VA | rhino | rhino |
| Microsol | ups | Rhino 20.0 | 20000VA | rhino | rhino |
| Mustek | ups | Powermust | 400VA Plus | blazer_ser | blazer_ser |
| Mustek | ups | Powermust | 600VA Plus | blazer_ser | blazer_ser |
| Mustek | ups | Powermust | 800VA Pro | blazer_ser | blazer_ser |
| Mustek | ups | Powermust | 1000VA Plus | blazer_ser | blazer_ser |
| Mustek | ups | Powermust | 1400VA Plus | blazer_ser | blazer_ser |
| Mustek | ups | Powermust | 2000VA USB | blazer_ser | blazer_ser |
| Mustek | ups | Powermust Office 650 | USB | blazer_usb | blazer_usb |
| Mustek | ups | PowerMust 424 / 636 / 848 | USB | blazer_usb | blazer_usb |
| Mustek | ups | Yukai PowerMust | 1000 USB (PID: 5161) | blazer_usb | blazer_usb |
| Mustek | ups | Various |  | blazer_ser | blazer_ser |
| Neus | ups | 400va / 600va |  | blazer_ser | blazer_ser |
| Nitram | ups | Elite 500 |  | genericups upstype=8 | genericups upstype=8 |
| Nitram | ups | Elite 2002 |  | genericups upstype=16 | genericups upstype=16 |
| Nitram | ups | Elite 2005 |  | powerpanel | powerpanel |
| NUMERIC | ups | 3000 SW |  | blazer_ser | blazer_ser |
| Oneac | ups | ON400 | advanced interface | oneac | oneac |
| Oneac | ups | ON600 | advanced interface | oneac | oneac |
| Oneac | ups | ON900 | advanced interface | oneac | oneac |
| Oneac | ups | ON1300 | advanced interface | oneac | oneac |
| Oneac | ups | EG Series | advanced interface | oneac | oneac |
| Oneac | ups | ON700 | advanced interface | oneac | oneac |
| Oneac | ups | ON700XAU | advanced interface | oneac | oneac |
| Oneac | ups | ON700XIU | advanced interface | oneac | oneac |
| Oneac | ups | ON1000 | advanced interface | oneac | oneac |
| Oneac | ups | ON1000XAU | advanced interface | oneac | oneac |
| Oneac | ups | ON1000XIU | advanced interface | oneac | oneac |
| Oneac | ups | ON1500 | advanced interface | oneac | oneac |
| Oneac | ups | ON1500XAU | advanced interface | oneac | oneac |
| Oneac | ups | ON1500XIU | advanced interface | oneac | oneac |
| Oneac | ups | ON2000 | advanced interface | oneac | oneac |
| Oneac | ups | ON2000XAU | advanced interface | oneac | oneac |
| Oneac | ups | ON2000XIU | advanced interface | oneac | oneac |
| Online | ups | P-Series |  | genericups upstype=14 | genericups upstype=14 |
| Online | ups | Zinto D |  | optiups | optiups |
| Online | ups | Yunto YQ450 |  | Not supported | blazer_usb |
| OnLite | ups | AQUA | 50 | blazer_ser | blazer_ser |
| Opti-UPS | ups | PowerES | 420E | optiups | optiups |
| Orvaldi Power Protection | ups | various | not 400 or 600 | blazer_ser | blazer_ser |
| Orvaldi Power Protection | ups | 750 / 900SP |  | Not supported | blazer_usb |
| Phasak | ups | 400VA / 600VA |  | blazer_ser | blazer_ser |
| Plexus | ups | 500VA | USB | blazer_usb | blazer_usb |
| Plexus | ups | 1000VA Pro | USB | blazer_usb | blazer_usb |
| Powercom | ups | SMK |  | blazer_ser | blazer_ser |
| Powercom | ups | SXL |  | blazer_ser | blazer_ser |
| Powercom | ups | ULT |  | blazer_ser | blazer_ser |
| Powercom | ups | Trust 425/625 |  | powercom | powercom |
| Powercom | ups | Advice Partner/King Pr750 |  | powercom | powercom |
| Powercom | ups | Black Knight PRO |  | powercom | powercom |
| Powercom | ups | Black Knight PRO | USB (2009 models, product id: 00a6) | usbhid-ups (experimental) | usbhid-ups (experimental) |
| Powercom | ups | Smart KING Pro (all Smart series) |  | powercom | powercom |
| Powercom | ups | Smart KING Pro (all Smart series) | USB (2009 models, product id: 00a3) | usbhid-ups (experimental) | usbhid-ups (experimental) |
| Powercom | ups | Imperial |  | powercom | powercom |
| Powercom | ups | Imperial | USB (2009 models, product id: 00a2) | usbhid-ups (experimental) | usbhid-ups (experimental) |
| Powercom | ups | Vanguard |  | blazer_ser | blazer_ser |
| Powercom | ups | Vanguard | USB (2009 models, product id: 00a5) | usbhid-ups (experimental) | usbhid-ups (experimental) |
| Powercom | ups | WOW | USB (<= 2009 models, product id: 0002) | powercom (requires "usbserial" kernel module) | powercom (requires 'usbserial' kernel module) |
| Powercom | ups | WOW | USB (2009 models, product id: 00a4) | usbhid-ups (experimental) | usbhid-ups (experimental) |
| Powercom | ups | (various) | USB (<= 2009 models, product id: 0002) | powercom (requires "usbserial" kernel module) | powercom (requires 'usbserial' kernel module) |
| Powercom | ups | (various) | USB (2009 models, product id: 00a?) | usbhid-ups (experimental) | usbhid-ups (experimental) |
| Powercom | ups | BNT-xxxAP | USB (product id: 0004) | Not supported | usbhid-ups (experimental) |
| POWEREX | ups | VI 1000 LED |  | Not supported | blazer_usb |
| PowerGuard | ups | PG-600 |  | blazer_ser | blazer_ser |
| PowerKinetics | ups | 9001 |  | genericups upstype=17 | genericups upstype=17 |
| PowerKinetics | ups | BlackOut Buster |  | blazer_ser | blazer_ser |
| PowerMan | ups | RealSmart 800 |  | blazer_ser | blazer_ser |
| PowerMan | ups | RealSmart 1000 |  | blazer_ser | blazer_ser |
| PowerMan | ups | BackPro |  | genericups upstype=4 | genericups upstype=4 |
| PowerShield | ups | Defender 1200VA |  | Not supported | blazer_usb |
| PowerTech | ups | Comp1000 | DTR cable power | genericups upstype=3 | genericups upstype=3 |
| PowerTech | ups | SMK-800 |  | blazer_ser | blazer_ser |
| PowerWalker | ups | Line-Interactive VI 1000 |  | blazer_ser | blazer_ser |
| PowerWalker | ups | Line-Interactive VI 400/800 |  | blazer_ser | blazer_ser |
| PowerWalker | ups | Line-Interactive VI 600 |  | blazer_ser | blazer_ser |
| PowerWalker | ups | Line-Interactive VI 600 SE |  | Not supported | blazer_usb |
| PowerWalker | ups | Line-Interactive VI 800 SE |  | Not supported | blazer_usb |
| PowerWalker | ups | Line-Interactive VI 1400 |  | blazer_usb | blazer_usb |
| PowerWalker | ups | Line-Interactive VI 2000 |  | Not supported | blazer_usb |
| PowerWalker | ups | Line-Interactive VI 850 LCD |  | Not supported | blazer_usb |
| PowerWalker | ups | Online VFI 1000RT/1500RT/2000RT/3000RT/6000RT/10000RT LCD |  | Not supported | blazer_usb |
| PowerWalker | ups | Line-Interactive VI 1000RT/1500RT/2000RT/3000RT LCD |  | Not supported | blazer_usb |
| Powerware | ups | 3110 |  | genericups upstype=7 | genericups upstype=7 |
| Powerware | ups | 3115 |  | genericups upstype=11 | genericups upstype=11 |
| Powerware | ups | 5119, 5125 |  | genericups upstype=15 | genericups upstype=15 |
| Powerware | ups | 5119 RM |  | genericups upstype=20 | genericups upstype=20 |
| Powerware | ups | 5119 RM |  | upscode2 | upscode2 |
| Powerware | ups | PW3105 |  | bcmxcp_usb | bcmxcp_usb |
| Powerware | ups | PW5110 |  | bcmxcp_usb | bcmxcp_usb |
| Powerware | ups | PW5115 | Serial port | bcmxcp | bcmxcp |
| Powerware | ups | PW5115 | USB port | bcmxcp_usb | bcmxcp_usb |
| Powerware | ups | PW5125 |  | bcmxcp | bcmxcp |
| Powerware | ups | PW9120 | Serial port | bcmxcp | bcmxcp |
| Powerware | ups | PW9120 | USB port | bcmxcp_usb | bcmxcp_usb |
| Powerware | ups | PW9125 |  | bcmxcp | bcmxcp |
| Powerware | ups | PW9315 | 3-phase | bcmxcp | bcmxcp |
| Powerware | ups | 9110 |  | upscode2 | upscode2 |
| Powerware | ups | 9120 |  | upscode2 | upscode2 |
| Powerware | ups | 9150 |  | upscode2 | upscode2 |
| Powerware | ups | 9305 |  | upscode2 | upscode2 |
| Powerware | ups | BladeUPS (SNMP) | ConnectUPS Web/SNMP Card | snmp-ups (experimental) | snmp-ups (experimental) |
| Powerware | ups | (various) | ConnectUPS Web/SNMP card | snmp-ups (experimental) | snmp-ups (experimental) |
| Powerwell | ups | PM525A/-625A/-800A/-1000A/-1250A |  | safenet | safenet |
| Phantom | pdu | Rackable Systems | 1 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| Raritan | pdu | Intelligent PDU - Dominion PX | no report, but should be supported | snmp-ups (experimental) | snmp-ups (experimental) |
| Raritan | pdu | Metered PDU - Raritan PM | no report, but should be supported | snmp-ups (experimental) | snmp-ups (experimental) |
| Raritan | pdu | Switched PDU - Raritan RPC | no report, but should be supported | snmp-ups (experimental) | snmp-ups (experimental) |
| Repotec | ups | RPF525/625/800/1000 |  | safenet | safenet |
| Repotec | ups | RPT-800A |  | genericups upstype=13 | genericups upstype=13 |
| Repotec | ups | RPT-162A |  | genericups upstype=13 | genericups upstype=13 |
| Riello | ups | Riello Sentinel SDL 6000-7 | Netman Plus 102 SNMP Card | Not supported | snmp-ups |
| Riello | ups | Riello Sentinel Dual SDH 1000-7 | Netman Plus 102 SNMP Card | Not supported | snmp-ups |
| Riello | ups | (various) | Netman Plus 102 SNMP Card | Not supported | snmp-ups |
| Rocketfish | ups | RF-1000VA / RF-1025VA |  | usbhid-ups | usbhid-ups |
| SmartLabs | pdu | 2412S Power Line Modem | for X10/Insteon | powerman-pdu (experimental) | powerman-pdu (experimental) |
| SMS (Brazil) | ups | Manager III |  | blazer_ser | blazer_ser |
| SOLA | ups | 305 | cable INT-0025C | genericups upstype=7 | genericups upstype=7 |
| SOLA | ups | 325 |  | bestups | blazer_ser or bestups |
| SOLA | ups | 520 |  | bestups | blazer_ser or bestups |
| SOLA | ups | 610 | use ID= in ups.conf | bestups | blazer_ser or bestups |
| SOLA | ups | 620 |  | bestups | blazer_ser or bestups |
| SOLA | ups | 330 |  | blazer_ser | blazer_ser |
| SOLA/BASIC Mexico | ups | various | ISBMEX protocol | isbmex | isbmex |
| Socomec Sicon | ups | NeTYS-PE 600VA |  | Not supported | blazer_ser |
| Socomec Sicon | ups | Egys | 420 VA | powercom | powercom |
| Socomec Sicon | ups | MASTERYS 3/3 SYSTEM 60 kVA | Net Vision v5.05 SNMP card | Not supported | snmp-ups (experimental) |
| Socomec Sicon | ups | Netvision | UPS equipped with Netvision WEB/SNMP card/external box | snmp-ups (experimental) | snmp-ups (experimental) |
| Soltec | ups | Winmate 525/625/800/1000 |  | safenet | safenet |
| Soyntec | ups | Sekury C 500 |  | blazer_ser | blazer_ser |
| Soyntec | ups | Sekury C 800 |  | blazer_ser | blazer_ser |
| SquareOne Power | ups | QP1000 |  | blazer_ser | blazer_ser |
| Sun | pdu | ILOM Management Module | 1 outlet | powerman-pdu (experimental) | powerman-pdu (experimental) |
| SuperPower | ups | HP360, Hope-550 |  | blazer_ser | blazer_ser |
| SVEN | ups | Power Pro+ series | USB | blazer_usb (USB ID 05b8:0000) | blazer_usb (USB ID ffff:0000) |
| SVEN | ups | Power Pro+ series | USB | blazer_usb (USB ID 05b8:0000) | blazer_usb (USB ID 05b8:0000) |
| SVEN | ups | Power Pro+ series | USB | richcomm_usb (USB ID 0925:1234) | richcomm_usb (USB ID 0925:1234) |
| SVEN | ups | Power Smart RM 2000 | USB | blazer_usb (USB ID 05b8:0000) | blazer_usb (USB ID 05b8:0000) |
| Sweex | ups | 500/1000 | smart - shipped with SafeNet | safenet | safenet |
| Sweex | ups | 500/1000 |  | genericups upstype=7 | genericups upstype=7 |
| Sweex | ups | 1000 | USB | richcomm_usb | richcomm_usb |
| Sweex | ups | (various) |  | blazer_ser | blazer_ser |
| Sysgration | ups | UPGUARDS Pro650 |  | blazer_ser | blazer_ser |
| Tecnoware | ups | Easy Power 1200 |  | blazer_ser | blazer_ser |
| Tecnoware | ups | UPS ERA LCD 0.65 |  | Not supported | blazer_usb langid_fix=0x409 |
| Tripp-Lite | ups | INTERNETOFFICE700 | USB | tripplite_usb | tripplite_usb |
| Tripp-Lite | ups | OMNIVS1000 | USB | tripplite_usb | tripplite_usb |
| Tripp-Lite | ups | OMNIVS1500XL | USB | tripplite_usb | tripplite_usb |
| Tripp-Lite | ups | SMART700USB | USB | tripplite_usb | tripplite_usb |
| Tripp-Lite | ups | SMART1500RM2U | USB | tripplite_usb | tripplite_usb |
| Tripp-Lite | ups | SMART550USB | USB | tripplite_usb | tripplite_usb |
| Tripp-Lite | ups | OMNISMART500 | USB | Not supported | tripplite_usb |
| Tripp-Lite | ups | SMART2200RMXL2U | USB, older models | tripplite_usb (experimental) | tripplite_usb (experimental) |
| Tripp-Lite | ups | SmartUPS |  | tripplite | tripplite |
| Tripp-Lite | ups | SmartOnline |  | tripplitesu | tripplitesu |
| Tripp-Lite | ups | (various) | Lan 2.2 interface - black 73-0844 cable | genericups upstype=5 | genericups upstype=5 |
| Tripp-Lite | ups | OMNI1000LCD | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | OMNI900LCD | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | OMNI650LCD | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | 1500 LCD | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | AVR550U | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | AVR750U | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | ECO550UPS | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | SmartOnline SU1500RTXL2ua | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | Smart1000LCD | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | Smart1500LCD | USB | usbhid-ups | usbhid-ups |
| Tripp-Lite | ups | smart2200RMXL2U | USB, newer models | usbhid-ups | usbhid-ups |
| Trust | ups | UPS 1000 Management PW-4105 |  | blazer_ser | blazer_ser |
| Trust | ups | UPS 1200VA Management PW-4120M |  | blazer_ser | blazer_ser |
| Trust | ups | UPS 1300VA Management PW-4130M |  | blazer_ser | blazer_ser |
| UNITEK | ups | ALPHA 500 IC |  | blazer_ser | blazer_ser |
| UNITEK | ups | Alpha 1000is |  | blazer_ser | blazer_ser |
| UNITEK | ups | Alpha 500 |  | blazer_ser | blazer_ser |
| UNITEK | ups | Alpha 500 ipE |  | blazer_ser | blazer_ser |
| UNITEK | ups | Alpha 2600 |  | blazer_ser | blazer_ser |
| UNITEK | ups | Alpha 1200Sx | USB | blazer_usb | blazer_usb |
| UNITEK | ups | Alpha 1250xD | USB | blazer_usb | blazer_usb |
| UPSonic | ups | CXR1000 |  | blazer_ser | blazer_ser |
| UPSonic | ups | LAN Saver 600 |  | genericups upstype=0 | genericups upstype=0 |
| UPSonic | ups | Power Guardian |  | genericups upstype=7 | genericups upstype=7 |
| UPSonic | ups | PrOffice 650 | USB | blazer_usb | blazer_usb |
| UPSonic | ups | DS-800 | USB | blazer_usb | blazer_usb |
| Various | ups | (various) | SEC protocol | gamatronic | gamatronic |
| Various | ups | (various) | Generic RUPS model | genericups upstype=4 | genericups upstype=4 |
| Various | ups | (various) | Generic RUPS 2000 (Megatec M2501 cable) | genericups upstype=21 | genericups upstype=21 |
| Various | ups | (various serial) | Q1 / Megatec protocol | Not supported | blazer_ser |
| Various | ups | (various USB) | Q1 / Megatec protocol | Not supported | blazer_usb |
| Various | ups | (various) | PhoenixTec protocol | bestups | blazer_ser or bestups |
| Various | ups | (various) | SNMP - RFC 1628 | snmp-ups (experimental) | snmp-ups (experimental) |
| Various | ups | (various) | Safenet software | safenet | safenet |
| Various | ups | (Various USB) | UPSilon 2000 software | Not supported | blazer_usb langid_fix=0x409 |
| Various | ups | (Various serial) | WinPower software | Not supported | blazer_ser |
| Various | ups | (Various USB) | WinPower software | Not supported | blazer_usb |
| Various | ups | Various Innova T | (USB ID 06da:0201) | Not supported | blazer_ser or blazer_usb |
| Various | ups | Various Innova RT | (USB ID 06da:0005) | Not supported | blazer_ser or blazer_usb |
| Various | ups | Various Innova 3/1 T | (USB ID 06da:0004) | Not supported | blazer_ser or blazer_usb |
| Victron/IMV | ups | (various) |  | victronups | victronups |
| Victron/IMV | ups | Lite | crack cable | genericups upstype=10 | genericups upstype=10 |
| Viewsonic | ups | PowerES | 420E | optiups | optiups |
| Vivaldi | ups | EA200 LED | USB | richcomm_usb | richcomm_usb |
| WinPower | ups | CPM-800 |  | blazer_ser | blazer_ser |
| WTI | pdu | RPS-10 | 10 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |
| WTI | pdu | NPS | 8 outlets | powerman-pdu (experimental) | powerman-pdu (experimental) |